## Executive Summary
MEP General Summary & Rate Analysis ¦ Open MEP Quantity Takeoff Standard Template
Item | System / Discipline | Scope Description | Unit | Total Quantity | Material Rate ($) | Labor Rate ($) | Unit Rate ($) | Total Amount ($) | Remarks
1 | Water Supply Equipment | Tanks, Booster & Transfer Pumps, Water Heaters | Lot | 1 | 15000 | 3500 |  |  | Central Water Storage & Boosting
2 | Sanitary Fixtures | Water Closets, Washbasins, Sinks, Showers | Set | 50 | 450 | 120 |  |  | Vitreous China & Acrylic
3 | Mixers & Valves | Basin & Kitchen Mixers, Angle Valves, Bibb Taps | Pcs | 250 | 45 | 15 |  |  | Chrome Plated Brass
4 | Piping Networks (True 3D) | PPR Supply, PVC Soil & Waste, Vent, Rainwater | L.M | 5000 | 8 | 4 |  |  | Horizontal Runs + Risers + Wall Drops
5 | Fittings & Clamps | Elbows, Tees, Sound-Insulated Clamps, Hangers | Lot | 1 | 8000 | 3000 |  |  | Mechanical Supports & Couplings
6 | Testing & Commissioning | Hydrostatic Pressure Testing (15 bar), TAB, Disinfection | Lot | 1 | 1500 | 1200 |  |  | Consultant Handover Protocol
Grand Total MEP Estimated Cost

## Space Breakdown
Space by Space Fixture Schedule ¦ Open MEP Quantity Takeoff Standard Template
Item | Floor Level | Space Category | Area (m²) | WCs | Basins | Showers | Kitchen Sinks | Floor Drains | Water Heaters

## Fixtures Specs
Sanitary Ware & Fittings Specifications ¦ Open MEP Quantity Takeoff Standard Template
Item | Item Code | Fixture Description | Technical Specifications | Unit | Net Qty | Procurement Qty (+10%) | Approved Brands

## Piping Networks
3D Piping Takeoff (Horizontal + Risers + Drops) ¦ Open MEP Quantity Takeoff Standard Template
Item | System | Pipe Material | Diameter | Floor Horizontal (m) | Vertical Risers (m) | Wall Drops (m) | Net Total (m) | Procurement (+10%)

## Fittings & Supports
Fittings, Clamps, Acoustic Hangers & Consumables ¦ Open MEP Quantity Takeoff Standard Template
Item | Category | Fitting / Bracket Description | Engineering Derivation Rule | Unit | Net Qty | Procurement Qty | Installation Standard